## Data Entry
DATA ENTRY
ENTER TEST DATE | ENTER MEG READING | OUTSIDE TEMPERATURE AT TIME OF TEST F° | TEMPERATURE COEFFICENT CORRECTED INSULATION RESISTANCE | Temperature Coefficient from TCF Table
2007-01-01 | 0.5 | 88 | 0.21854 | 2.2879
2007-02-01 | 0.2 | 88 | 0.087415 | 2.2879 | In the columns shaded grey enter:
2007-03-01 | 0.3 | 81 | 0.16126 | 1.8603 | 1 | Date of Test
2007-04-01 | 0.2 | 86 | 0.092739 | 2.1566 | 2 | Megger Reading in Megohms and outside temperature in Fahrenhiet.
2007-05-01 | 0.3 | 88 | 0.13112 | 2.2879
2007-06-01 | 0.2 | 88 | 0.087415 | 2.2879 | 3 | Outside Temperature in Fahrenhiet.
2007-07-01 | 0.2 | 88 | 0.087415 | 2.2879
2007-08-01 | 0.18 | 81 | 0.096759 | 1.8603
2007-09-01 | 0.16 | 86 | 0.074191 | 2.1566
2007-10-01 | 0.14 | 88 | 0.061191 | 2.2879
2007-11-01 | 0.12 | 88 | 0.052449 | 2.2879
2007-12-01 | 0.1 | 88 | 0.043708 | 2.2879
2008-01-01 | 0.08 | 81 | 0.043004 | 1.8603
2008-02-01 | 0.06 | 86 | 0.027822 | 2.1566
2008-03-01 | 0.04 | 88 | 0.017483 | 2.2879
2008-04-01 | 0.02 | 88 | 0.0087415 | 2.2879
2008-05-01 | -5.5511e-17 | 88 | 1 | 2.2879
2008-06-01 | -0.02 | 81 | 1 | 1.8603
2008-07-01 | -0.04 | 86 | 1 | 2.1566
2008-08-01 | 0.3 | 88 | 0.13112 | 2.2879
2008-09-01 | 0.3 | 88 | 0.13112 | 2.2879
2008-10-01 | 0.3 | 88 | 0.13112 | 2.2879
2008-11-01 | 0.3 | 81 | 0.16126 | 1.8603
2008-12-01 | 0.3 | 86 | 0.13911 | 2.1566
2009-01-01 | 0.3 | 88 | 0.13112 | 2.2879
2009-02-01 | 0.3 | 88 | 0.13112 | 2.2879
2009-03-01 | 0.3 | 88 | 0.13112 | 2.2879
2009-04-01 | 0.3 | 81 | 0.16126 | 1.8603
2009-05-01 | 0.3 | 86 | 0.13911 | 2.1566
2009-06-01 | 0.3 | 88 | 0.13112 | 2.2879
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973
|  |  | 1 | 0.16973

## TCF TABLE
TEMPERATURE |  | 10F COEFFICIENT
0F | 0C | 1.03 | 1.04
-24 | -31.1111 | 0.083497 | 0.037085 | 1.03 TEMPERATURE CORRECTION FACTOR FOR L-824B AND L-824C CABLES
-23 | -30.5556 | 0.086002 | 0.038569 | 1.04 TEMPERATURE CORRECTION FACTOR FOR "RULE-OF-THUMB"
-22 | -30 | 0.088582 | 0.040111 | 60 DEGREE FAHRENHEIT BASE TEMPERATURE
-21 | -29.4444 | 0.09124 | 0.041716
-20 | -28.8889 | 0.093977 | 0.043384
-19 | -28.3333 | 0.096796 | 0.04512
-18 | -27.7778 | 0.0997 | 0.046924
-17 | -27.2222 | 0.10269 | 0.048801
-16 | -26.6667 | 0.10577 | 0.050754
-15 | -26.1111 | 0.10895 | 0.052784
-14 | -25.5556 | 0.11221 | 0.054895
-13 | -25 | 0.11558 | 0.057091
-12 | -24.4444 | 0.11905 | 0.059374
-11 | -23.8889 | 0.12262 | 0.061749
-10 | -23.3333 | 0.1263 | 0.064219
-9 | -22.7778 | 0.13009 | 0.066788
-8 | -22.2222 | 0.13399 | 0.06946
-7 | -21.6667 | 0.13801 | 0.072238
-6 | -21.1111 | 0.14215 | 0.075128
-5 | -20.5556 | 0.14641 | 0.078133
-4 | -20 | 0.15081 | 0.081258
-3 | -19.4444 | 0.15533 | 0.084508
-2 | -18.8889 | 0.15999 | 0.087889
-1 | -18.3333 | 0.16479 | 0.091404
0 | -17.7778 | 0.16973 | 0.09506
1 | -17.2222 | 0.17483 | 0.098863
2 | -16.6667 | 0.18007 | 0.10282
3 | -16.1111 | 0.18547 | 0.10693
4 | -15.5556 | 0.19104 | 0.11121
5 | -15 | 0.19677 | 0.11566
6 | -14.4444 | 0.20267 | 0.12028
7 | -13.8889 | 0.20875 | 0.12509
8 | -13.3333 | 0.21501 | 0.1301
9 | -12.7778 | 0.22146 | 0.1353
10 | -12.2222 | 0.22811 | 0.14071
11 | -11.6667 | 0.23495 | 0.14634
12 | -11.1111 | 0.242 | 0.15219
13 | -10.5556 | 0.24926 | 0.15828
14 | -10 | 0.25674 | 0.16461
15 | -9.4444 | 0.26444 | 0.1712
16 | -8.8889 | 0.27237 | 0.17805
17 | -8.3333 | 0.28054 | 0.18517
18 | -7.7778 | 0.28896 | 0.19257
19 | -7.2222 | 0.29763 | 0.20028
20 | -6.6667 | 0.30656 | 0.20829
21 | -6.1111 | 0.31575 | 0.21662
22 | -5.5556 | 0.32523 | 0.22529
23 | -5 | 0.33498 | 0.2343
24 | -4.4444 | 0.34503 | 0.24367
25 | -3.8889 | 0.35538 | 0.25342
26 | -3.3333 | 0.36604 | 0.26355
27 | -2.7778 | 0.37703 | 0.27409
28 | -2.2222 | 0.38834 | 0.28506
29 | -1.6667 | 0.39999 | 0.29646
30 | -1.1111 | 0.41199 | 0.30832
31 | -0.55556 | 0.42435 | 0.32065
32 | 0 | 0.43708 | 0.33348
33 | 0.55556 | 0.45019 | 0.34682
34 | 1.1111 | 0.46369 | 0.36069
35 | 1.6667 | 0.47761 | 0.37512
36 | 2.2222 | 0.49193 | 0.39012
37 | 2.7778 | 0.50669 | 0.40573
38 | 3.3333 | 0.52189 | 0.42196
39 | 3.8889 | 0.53755 | 0.43883
40 | 4.4444 | 0.55368 | 0.45639
41 | 5 | 0.57029 | 0.47464
42 | 5.5556 | 0.58739 | 0.49363
43 | 6.1111 | 0.60502 | 0.51337
44 | 6.6667 | 0.62317 | 0.53391
45 | 7.2222 | 0.64186 | 0.55526
46 | 7.7778 | 0.66112 | 0.57748
47 | 8.3333 | 0.68095 | 0.60057
48 | 8.8889 | 0.70138 | 0.6246
49 | 9.4444 | 0.72242 | 0.64958
50 | 10 | 0.74409 | 0.67556
51 | 10.5556 | 0.76642 | 0.70259
52 | 11.1111 | 0.78941 | 0.73069
53 | 11.6667 | 0.81309 | 0.75992
54 | 12.2222 | 0.83748 | 0.79031
55 | 12.7778 | 0.86261 | 0.82193
56 | 13.3333 | 0.88849 | 0.8548
57 | 13.8889 | 0.91514 | 0.889
58 | 14.4444 | 0.9426 | 0.92456
59 | 15 | 0.97087 | 0.96154
60 | 15.5556 | 1 | 1
61 | 16.1111 | 1.03 | 1.04
62 | 16.6667 | 1.0609 | 1.0816
63 | 17.2222 | 1.0927 | 1.1249
64 | 17.7778 | 1.1255 | 1.1699
65 | 18.3333 | 1.1593 | 1.2167
66 | 18.8889 | 1.1941 | 1.2653
67 | 19.4444 | 1.2299 | 1.3159
68 | 20 | 1.2668 | 1.3686
69 | 20.5556 | 1.3048 | 1.4233
70 | 21.1111 | 1.3439 | 1.4802
71 | 21.6667 | 1.3842 | 1.5395
72 | 22.2222 | 1.4258 | 1.601
73 | 22.7778 | 1.4685 | 1.6651
74 | 23.3333 | 1.5126 | 1.7317
75 | 23.8889 | 1.558 | 1.8009
76 | 24.4444 | 1.6047 | 1.873
77 | 25 | 1.6528 | 1.9479
78 | 25.5556 | 1.7024 | 2.0258
79 | 26.1111 | 1.7535 | 2.1068
80 | 26.6667 | 1.8061 | 2.1911
81 | 27.2222 | 1.8603 | 2.2788
82 | 27.7778 | 1.9161 | 2.3699
83 | 28.3333 | 1.9736 | 2.4647
84 | 28.8889 | 2.0328 | 2.5633
85 | 29.4444 | 2.0938 | 2.6658
86 | 30 | 2.1566 | 2.7725
87 | 30.5556 | 2.2213 | 2.8834
88 | 31.1111 | 2.2879 | 2.9987
89 | 31.6667 | 2.3566 | 3.1187
90 | 32.2222 | 2.4273 | 3.2434
91 | 32.7778 | 2.5001 | 3.3731
92 | 33.3333 | 2.5751 | 3.5081
93 | 33.8889 | 2.6523 | 3.6484
94 | 34.4444 | 2.7319 | 3.7943
95 | 35 | 2.8139 | 3.9461
96 | 35.5556 | 2.8983 | 4.1039
97 | 36.1111 | 2.9852 | 4.2681
98 | 36.6667 | 3.0748 | 4.4388
99 | 37.2222 | 3.167 | 4.6164
100 | 37.7778 | 3.262 | 4.801
101 | 38.3333 | 3.3599 | 4.9931
102 | 38.8889 | 3.4607 | 5.1928
103 | 39.4444 | 3.5645 | 5.4005
104 | 40 | 3.6715 | 5.6165
105 | 40.5556 | 3.7816 | 5.8412
106 | 41.1111 | 3.895 | 6.0748
107 | 41.6667 | 4.0119 | 6.3178
108 | 42.2222 | 4.1323 | 6.5705
109 | 42.7778 | 4.2562 | 6.8333
110 | 43.3333 | 4.3839 | 7.1067
111 | 43.8889 | 4.5154 | 7.391
112 | 44.4444 | 4.6509 | 7.6866
113 | 45 | 4.7904 | 7.9941
114 | 45.5556 | 4.9341 | 8.3138
115 | 46.1111 | 5.0821 | 8.6464