## Slide 1: IES-RP-37 Outdoor Lighting in the Airport Environment last update before publication!
2015 IES ALC Fall
Technology Meeting
Marriott Denver Tech Center
Denver, Colorado
Outdoor
Available soon!

## Slide 2: IES RP-37 last update before publication
Committee Members – THANKS!
Heather C. Johnson, Hubbell
Heather Mckee, Denver International Airport
Eduard Alf, Transport Canada
Carl Johnson, Avcon
Gilles Lauzière, Urbex
Fred Loeffler, CHA – Vice chair
Alfred Seiterle, Aeroplan Engineering
Irwin Smiley, AECOM
Mike Tebeau, Lambert-St Louis International Airport
Craig Twibell, RS&H
John Wujek, HNTB - Secretary
Richard Larivée, Avia Rupta Solutions - Chair

## Slide 3: IES RP-37 last update before publication
Scope
Outdoor lighting in the airport environment includes aircraft stands and apron areas, roadways, vehicular parking facilities, passenger loading and unloading areas and pedestrian walkways.
The recommendations included in this IES RP provide guidance for lighting of these areas while emphasizing the restrictions, regulations, and best practices for safe movement of aircraft.
Excluding AGL and heliport areas.

## Slide 4: IES RP-37 last update before publication
History
1987 - Publication of RP-14 and RP-17 (1968)
2008 - RP-37 subcommittee kick-off
2010 - Document sent for comments at IES TRC – 40% draft
2011 - 80% draft sent out for comments +- 200 comments
2011 - Graphics and pictures set up.
2012-2013 - Successive update and modification of document.
2014 - Document ready for review and final graphic
2015 - Committee reviews (sub-committee, main committee, IES technical review committee, IES board)

## Slide 5: IES RP-37 last update before publication
Table of content of RP
  Introduction
  Characteristics of Airport Areas
  Visual Issues
  Design Criteria
  Essential Safety and Security Lighting
  Environmental Conditions
  Annexes
    Luminance and illuminance for roadway lighting
    Field measurement
    Maintenance
    Economics
    Lighting Equipment
    Glossary, Reference and Additional Reading

## Slide 6: IES RP-37 last update before publication
Visual Issues
  Airport control towers
    Visibility throughout airfield and landside
    Line of sight (pole and luminaire)
    Obtrusive light
  Pilot
    Approaching the airport
    Rollout & Taxiing
    Parking
Captain Mike Maas Regional Airport Safety Coordinator Air Line Pilots Association, Intl.
Zurich airport
From Alfred Seiterle.

## Slide 7: IES RP-37 last update before publication
Design Criteria
  Aviation Special Conditions
    Glare reduces visibility when low mounted luminaires are aimed out and away from the area to be lit.
    Unnecessary or unwanted glare is minimized by using higher fixture mounting height position and steeper aiming angles, thereby putting the light where it is needed, while reducing the visibility of the actual light source, and minimizing light pollution and light trespass.

## Slide 8
1959 – Toronto Airport, Canada

## Slide 9: IES RP-37 last update before publication
Design Criteria
  Selection of luminaire
A ?
B ?
C
?

## Slide 10: IES RP-37 last update before publication
Design Criteria
  Light Loss Factor (LLF)
    LLF = LLD x LDD x BF x ATF
      LLD - Lamp Lumen Depreciation – check for curve
      LDD - Luminaire Dirt Depreciation – environmental condition, IES handbook and RP-08 contain information
      BF - Ballast factor – related to regulation of current.
      ATF - Ambient temperature factor. Check manufacturer

## Slide 11: IES RP-37 last update before publication
Status of RP-37
  Approx 90 pages, 50 graphics or pictures, + 10 tables, +60 references, +15 additional reading …
  Document sent to IES editor since September 2014, went to RP-37 subcommittee, main Aviation Lighting Committee, IES technical review committee and IES board.
  Close to 500 comments generated and review since last year.
  IES Board comments received yesterday. Response next week!
  Final approving on November 7-8, 2015 at IES annual conference
  Graphic and set up for printing (2 weeks)
  Last review from RP-37 subcommittee (2 weeks)
  PRINTING or E version for Christmas!

## Slide 12: IES RP-37 last update before publication
Recommendation
  New working group to be formed to revised aviation related definition in IES RP-16. Looking for a task leader and members!
    Terminology dated back 1980
  Promotion: magazines and airport community
  Open up for new membership RP-37 subcommittee
    Q & A after publication
    Next version
      OSHA - coordination
      FAA - tower control review
      Task lighting
      Others

## Slide 13: New IES standards
  DG-28-15 The Guide for Selection, Installation, Operations and Maintenance of Roadway Lighting Control Systems Design
  RP-33-14 Lighting for Exterior Environments
More to come
  DG-30 High Mast Lighting for Roadways
  DG-26 Lighting the roadways in work zones
  RP-07 Lighting Industrial Facilities

## Slide 14: Question or comments?
Richard Larivée, ing, P.Eng. Chair IES RP-37
IESALC recommended practices subcommittee
practices@iesalc.org